## CSARC Equipment List
S. No | Capability - SubDivision | Physical Space: Facilities (Lab., nethouse, screenhouse, greenhouse, office, growth chamber, etc.) | Sub Grouping or Bundel | Equipment | Desc/Spec | Use | Qty | Model | Cat no. | Manufacturer/brand recommendations | Cost Estimate (USD) | Notes | Lab Pri | Equip Pri
1 | Genomics and Biotechnology | General Lab Area |  | Analytical Balance |  |  | 1 | [5 empty] | 1 | 1
2 | Genomics and Biotechnology | General Lab Area |  | Refrigerator +4C |  |  | 1 | [5 empty] | 1 | 1
3 | Genomics and Biotechnology | General Lab Area |  | Freezer -20C |  |  | 1 | [5 empty] | 1 | 1
4 | Genomics and Biotechnology | General Lab Area |  | Water bath |  |  | 1 | [5 empty] | 1 | 1
5 | Genomics and Biotechnology | General Lab Area |  | Drying ove/inclubator |  |  | 1 | [5 empty] | 1 | 1
6 | Genomics and Biotechnology |  | Microbiology & sterile work area | Autoclave |  |  | 1 | [5 empty] | 1 | 1
7 | Genomics and Biotechnology |  | Microbiology & sterile work area | Incubator (37°C) |  |  | 1 | [5 empty] | 1 | 1
8 | Genomics and Biotechnology |  | Microbiology & sterile work area | Shaker Incubator |  |  | 1 | [5 empty] | 1 | 1
9 | Genomics and Biotechnology |  | Microbiology & sterile work area | colony counter |  |  | 1 | [5 empty] | 1 | 1
10 | Genomics and Biotechnology |  |  | minus 80C freezer |  | Cold storage | 1 | [5 empty] | 1 | 1
11 | Genomics and Biotechnology |  |  | refrigerated centrifuge |  | Cold storage | 1 | [5 empty] | 1 | 1
12 | Genomics and Biotechnology | DNA/RNA extraction/LAMP |  | 4C microcentrifuge |  |  | 2 | Eppendorf Centrifuge 5425R Knob Control with Rotor Refrigerated | E5406000569 | EPPENDORF UK LTD |  |  | 1 | 1
13 | Genomics and Biotechnology | DNA/RNA extraction/LAMP |  | Microcentrifuge |  |  | 1 | Hettich Centrifuge Mikro 200 High Speed | CEN0800 | WOLFLABS LTD |  |  | 1 | 1
14 | Genomics and Biotechnology | DNA/RNA extraction/LAMP |  | Microcentrifuge |  |  | 1 | Hettich Angle Rotor With Lid 24x0.2-2. 2ml | CEN0804 | WOLFLABS LTD |  |  | 1 | 1
15 | Genomics and Biotechnology |  | Hazardous chemical area | Ice maker |  |  | 1 | [5 empty] | 1 | 1
16 | Genomics and Biotechnology |  |  | Benchmark Beadblaster 96 Adapter for 96 Well Plate |  |  | 1 | Benchmark Beadblaster 96 Adapter for 96 Well Plate | HOM3208 | BENCHMARK SCIENTIFIC INC. |  |  | 1 | 1
17 | Genomics and Biotechnology | DNA/RNA extraction/LAMP |  | Mini centrifuge |  |  | 1 | SLS Micro Centrifuge 7000rpm | SLS1660 |  |  |  | 1 | 1
18 | Genomics and Biotechnology | DNA/RNA extraction/LAMP |  | Vortex |  |  | 4 | SLS Lab Basics Vortex Mixer | SLS1620 |  |  |  | 1 | 1
19 | Genomics and Biotechnology | DNA/RNA extraction/LAMP |  | Fumehood |  |  | 1 | [5 empty] | 1 | 1
20 | Genomics and Biotechnology | DNA/RNA extraction/LAMP |  | Organic solvent chemical storage cabinet (small) |  |  | 2 | [5 empty] | 1 | 1
21 | Genomics and Biotechnology |  | PCR machines | Realtime PCR machine |  |  | 1 | QuantStudio™ 5 Real-Time PCR System, 96-well, 0.2 mL, desktop with starter consumables | A28574 | COLE PARMER |  |  | 1 | 1
22 | Genomics and Biotechnology |  | PCR machines | Regular PCR machine |  |  | 1 | Mastercycler nexus flat eco | E6330000048 | EPPENDORF UK LTD |  |  | 1 | 1
23 | Genomics and Biotechnology |  | Quantificaiton and gel doc | Qubit |  |  | 1 | QUBIT 4 QUANT STARTER KIT WIFI BOX | Q33239 | THERMOFISHER |  |  | 1 | 1
24 | Genomics and Biotechnology |  | Quantificaiton and gel doc | Nanodrop |  |  | 1 | NANODROP ONEC SPECTROPHOTOMTR | ND-ONEC-W | THERMOFISHER |  |  | 1 | 1
25 | Genomics and Biotechnology |  | Quantificaiton and gel doc | Hettich Angle Rotor With Lid 24x0.2-2. 2ml |  |  | 1 | Hettich Angle Rotor With Lid 24x0.2-2. 2ml | CEN0804 | WOLFLABS LTD |  |  | 1 | 1
26 | Genomics and Biotechnology |  | Quantificaiton and gel doc | Gel electrophresis tanks (various sizes) |  |  | 3 | MultiSUB Choice 15x15cm UV tray combs and dams | MSCHOICE15 |  |  |  | 1 | 1
27 | Genomics and Biotechnology |  | Quantificaiton and gel doc | Electrophoresis power banks |  |  | 1 | Consort Power Supply EV2230 | ELE9104 | CONSORT |  |  | 1 | 1
28 | Genomics and Biotechnology |  | Quantificaiton and gel doc | Gel doc equipment with facility to excize bands |  |  | 1 | omniDOC Plus Blue LED | ELE2506 |  |  |  | 1 | 1
29 | Genomics and Biotechnology |  | PCR mix | PCR cabinet |  |  | 2 | Double PCR Cabinet | CAB1003 | GRANT INSTRUMENTS LTD. |  |  | 1 | 1
30 | Genomics and Biotechnology |  | PCR mix | spin-down microfuge for PCR tubes (strips & plates) |  |  | 1 | Axyspin Plate Spinner | CEN1012 | CORNING B.V LIFE SCIENCES |  |  | 1 | 1
31 | Genomics and Biotechnology |  | Pipette set | Pipette set |  |  | 1 | [5 empty] | 1 | 1
32 | Genomics and Biotechnology |  | Quantificaiton and gel doc | ELISA plate reader |  |  | 1 | MULTISKAN FC EACH | 51119000 | THERMOFISHER |  |  | 1 | 1
33 | Genomics and Biotechnology |  | Quantificaiton and gel doc | CORDPWR 10A/240V-C13-UK 2.5M RC |  |  | 1 | CORDPWR 10A/240V-C13-UK 2.5M RC | 4376858 | THERMOFISHER |  |  | 1 | 1
34 | Genomics and Biotechnology | Media preparation and sterilizing |  | MilliQ tabletop distiller for molecular biology grade (TypeI) for HTS. |  |  | 1 | arium mini including UV Lamp | WAT4286 | SARTORIUS UK LTD |  |  | 1 | 1
35 | Genomics and Biotechnology | Media preparation and sterilizing |  | Cartridge for pre-treatment in arium mini plus system |  | Removes large particulates, chlorine, and organic contaminants before final purification | 1 | mini plus PreTreatment Cartridge | WAT4288 | SARTORIUS UK LTD |  |  | 1 | 1
36 | Genomics and Biotechnology | Media preparation and sterilizing |  | Scientific accessory pack for arium system |  | Contains essential consumables and tools for system setup and maintenance | 1 | Scientific Pack for arium | WAT4290 | SARTORIUS UK LTD |  |  | 1 | 1
37 | Genomics and Biotechnology | Media preparation and sterilizing |  | Storage bag for purified water for arium mini and arium plus | 5 L capacity, sterile, designed for high-purity water storage, prevents recontamination |  | 1 | 5 Litre Bag for arium mini and + | WAT4294 | SARTORIUS UK LTD |  |  | 1 | 1
38 | Genomics and Biotechnology | Media preparation and sterilizing |  | Final filtration unit for arium water systems | 0.2 µm PES membrane filter, retains bacteria and particulates, ensures final water purity |  | 1 | Arium Final Filters | WAT4232 |  |  |  | 1 | 1
39 | Genomics and Biotechnology | Media preparation and sterilizing |  | Point-of-use ultrafilter for high-purity water systems | Removes pyrogens, nucleases, and endotoxins at dispensing point; pore size ≤ 5 kDa MWCO |  | 1 | Ultrafilter POU | WAT4300 | SARTORIUS UK LTD |  |  | 1 | 1
40 | Tissue culture | Conviron / freezer area |  | Controlled environment cabinet (conviron) |  |  | 2 | Binder KBW 400 Plant Growth Chamber with three racks |  | CHA3052 |  |  | 1 | 1
41 | Tissue culture | Post-entry quarantine |  | Vertical laminar flow |  |  | 1 | [5 empty] | 1 | 1
42 | Tissue culture | Post-entry quarantine |  | Horizontal biosecurity hood |  |  | 1 | [5 empty] | 1 | 1
43 | Tissue culture | Waste disposal |  | Benchtop Autoclave (40 litre capacity) |  |  | 2 | BIOBASE AUTOCLAVE TABLE TOP CLASS B 45L | BIOBASE | IBBSBKM-Z45B |  |  | 1 | 1
44 | Tissue culture | Hazardous chemical area |  | Organic solvent chemical storage cabinet (large) 88 litres |  |  | 1 | [5 empty] | 1 | 1
45 | Tissue culture | Media preparation and sterilizing |  | Analytical balance |  |  | 1 | [5 empty] | 1 | 1
46 | Tissue culture | Media preparation and sterilizing |  | Precision balance |  |  | 1 | Adam Equinox EAB 124e Analytical Balance, 120g x 0.0001 | Camlab | 1226567 |  |  | 1 | 1
47 | Tissue culture | Media preparation and sterilizing |  | pH meter |  |  | 2 | Jenway Benchtop pH Meter Model 3510 | Cole Parmer | PHM1212 |  |  | 1 | 1
48 | Tissue culture | Media preparation and sterilizing |  | Stirring hot plate |  |  | 2 | Stuart Stirrer Hotplate SHP-200-C Ceramic Plate | Cole Parmer | STI2600 |  |  | 1 | 1
49 | Tissue culture | Media preparation and sterilizing |  | Autoclave (high capacity ~200lt)) |  |  | 1 | Astell Swiftlock 247L Autoclave Front Loading | ASTELL SCIENTIFIC | AUT4232 |  |  | 1 | 1
50 | Tissue culture | Washing area |  | Drying oven |  |  | 1 | Drying Cabinet 885L Insulated | GENLAB LTD | DRY1026 |  |  | 1 | 1
51 | Tissue culture | Washing area |  | Glass Washing Machine |  |  | 1 | SMEG GW0260 CONCEPT LINE GLASS WASHER, 60CM, 3-PHASE WITH 2 PERISTALTIC PUMPS | SMEG | ISMGGW0260-S0-00J |  |  | 1 | 1
52 | Tissue culture | Transfer sub-culture |  | Laminar Flow Chamber (simple) |  |  | 6 | [5 empty] | 1 | 1
53 | Tissue culture | Transfer sub-culture |  | Bar-code scanner |  |  | 3 | Zebra CR8178-PC Presentation Cradle | CR8178-PC100F4WW | ZEBRA TECHNOLOGIES |  |  | 1 | 1
54 | Tissue culture | Transfer sub-culture |  | Bead sterilizer |  |  | 6 | MICROBEAD STERILIZER WITH GLASS BEADS, | Z742556-1EA | Merck Life Science UK Limited |  |  | 1 | 1
55 | Tissue culture | Transfer sub-culture |  | Dispenser Pump |  |  | 1 | Dose It P910 Peristaltic Pump Kit | I171000 | INTEGRA BIOSCIENCES AG |  |  | 1 | 1
56 | Tissue culture | Transfer lab utility area |  | Stereo microscope with ring light |  |  | 2 | [5 empty] | 1 | 1
57 | Tissue culture |  |  | Microscope objectives (tri…) |  |  | 2 | [5 empty] | 1 | 1
58 | Tissue culture | Transfer lab utility area |  | Incubator |  |  | 1 | Universal Oven UN30 | OVE8314 | MEMMERT GMBH +CO KG |  |  | 1 | 1
59 | Tissue culture | Transfer sub-culture |  | Pocket PC |  |  | 2 | [5 empty] | 1 | 1
60 | Tissue culture | Transfer sub-culture |  | Laboratory cart |  |  | 4 | [5 empty] | 1 | 1
61 | Tissue culture | Growth rooms |  | Temperature monitoring system with alarms |  |  | 2 | SLS Lab Pro Wired Alarm Flasher | SLS4164 | KELSIUS |  |  | 1 | 1
62 | Tissue culture | Growth rooms |  | Data logger |  |  | 2 | Ebro EBI 20-TH1 Standard Temperature / Humidity Data Logger - with internal humidity sensor - Set and accessories | THE1074 | BELLINGHAM + STANLEY LTD |  |  | 1 | 1
63 | Tissue culture | Growth rooms |  | Light intensity meter |  |  | 1 | Dual-Range Light Meter with Recorder Output and Calibration | 98766-92 | COLE PARMER |  |  | 1 | 1
64 | Nutrional Quality | Chemical analysis |  | Analitycal Balance |  |  | 1 | MS204S |  | Mettler Toledo | 5000 |  | 1 | 1 | A002758
65 | Nutrional Quality | Chemical analysis |  | Precision Balance |  |  | 1 | ML303 |  | Mettler Toledo | 4000 |  | 1 | 1 | A013686
66 | Nutrional Quality | Chemical analysis |  | CENTRIFUGE |  |  | 1 | 5810 R |  | Eppendorf | 13000 |  | 1 | 1 | A002875
67 | Nutrional Quality | Chemical analysis |  | Drying oven |  |  | 1 | FD 115 |  | BINDER | 4000 |  | 1 | 1 | A012646
68 | Nutrional Quality | Chemical analysis |  | Dri - Block |  |  | 1 | FDB03DD |  | TECHNE | 4000 |  | 1 | 1 | A002682
69 | Nutrional Quality | Chemical analysis |  | Fume Hood |  |  | 1 | 141810021 |  | LABCONCO | 22000 |  | 1 | 1 | A011684
70 | Nutrional Quality | Chemical analysis |  | Fume Hood |  |  | 1 | FUMEHOOD |  | HWS | 8000 |  | 1 | 1 | A0029883
71 | Nutrional Quality | Chemical analysis |  | Horizontal Freezer - 20C |  |  | 1 | CH10P |  | COLDEX | 400 |  | 1 | 1 | A002734
72 | Nutrional Quality | Chemical analysis |  | Magnetic Stirrer with Heater |  |  | 1 | RT 5 PowerPoint |  | IKA WERKE | 1000 |  | 1 | 1 | A002695
73 | Nutrional Quality | Chemical analysis |  | Multi - Tube Vortexer |  |  | 1 | 945063 |  | VWR | 4200 |  | 1 | 1 | A017935
74 | Nutrional Quality | Chemical analysis |  | Microprocessor pH Meter |  |  | 1 | pH 211 |  | HANNA instruments | 2000 |  | 1 | 1 | A013290
75 | Nutrional Quality | Chemical analysis |  | Precision Balance |  |  | 1 | PE 3000 |  | Mettler | 4000 |  | 1 | 1 | A002681
76 | Nutrional Quality | Chemical analysis |  | Precision Balance |  |  | 1 | PE 360 |  | Mettler | 4000 |  | 1 | 1 | A002678
77 | Nutrional Quality | Chemical analysis |  | Precision Balance |  |  | 1 | EK 6000 i |  | AND | 1000 |  | 1 | 1 | A013289
78 | Nutrional Quality | Chemical analysis |  | Precision Balance |  |  | 1 | BJ 610C |  | Precisa | 1000 |  | 1 | 1 | A002871
79 | Nutrional Quality | Chemical analysis |  | Refrigerator (5 to 10C) |  |  | 1 | RI - 279D |  | Indurama | 500 |  | 1 | 1 | A015721
80 | Nutrional Quality | Chemical analysis |  | Spectrophotometer |  |  | 1 | UV - 1800 |  | Shimadzu | 15000 |  | 1 | 1 | A002856
81 | Nutrional Quality | Chemical analysis |  | Ultra - Turrax / Homogenizador |  |  | 4 | T 25 Digital |  | IKA | 3000 |  | 1 | 1 | A002688
82 | Nutrional Quality | Chemical analysis |  | Ultrasonic Cleaner bath |  |  | 1 | 5510E - DTH |  | BRANSONIC | 2000 |  | 1 | 1 | A002763
83 | Nutrional Quality | Chemical analysis |  | Vacuum pump |  |  | 3 | DOA - P704 - AA |  | GAST | 700 |  | 1 | 1 | A013278
84 | Nutrional Quality | Chemical analysis |  | Vortex Mixer |  |  | 3 | 945404 |  | Fisher Scientific | 300 |  | 1 | 1 | A002679
85 | Nutrional Quality | Chemical analysis |  | Water bath |  |  | 1 | AL 18 |  | LAUDA | 4000 |  | 1 | 1 | A002855
86 | Nutrional Quality | Chemical analysis |  | Magnetic Stirrer with Heater |  |  | 1 | RO 5 P S1 |  | IKA | 1000 |  | 1 | 1 | A002872
87 | Nutrional Quality | Chemical analysis |  | Dual - Range Light Meter |  |  | 1 | 3251 |  | TRACEABLE | 100 |  | 1 | 1 | A013295
88 | Nutrional Quality | Chemical analysis |  | Chiller |  |  | 1 | RC 2 basic |  | IKA | 15000 |  | 1 | 1 | A012623
89 | Nutrional Quality | Chemical analysis |  | Vacuum pump |  |  | 1 | MVP10 basic |  | IKA |  |  | 1 | 1
90 | Nutrional Quality | Chemical analysis |  | Water bath |  |  | 1 | HB10 |  | IKA |  |  | 1 | 1
91 | Nutrional Quality | Chemical analysis |  | Rotary evaporator |  |  | 1 | RV10 Control |  | IKA |  |  | 1 | 1
92 | Nutrional Quality | Sample Preparations |  | Analytical Mill |  |  | 2 | A11 Basic |  | IKA | 5000 |  | 1 | 1 | A002720
93 | Nutrional Quality | Sample Preparations |  | Horizontal Freezer - 20C |  |  | 2 | CH 10 |  | Coldex | 400 |  | 1 | 1 | A014315
94 | Nutrional Quality | Sample Preparations |  | Mill |  |  | 2 | 3383-L60 |  | Thomas Scientific | 10000 |  | 1 | 1 | A002774
95 | Nutrional Quality | Sample Preparations |  | Precision Balance |  |  | 1 | ML802T |  | METTLER TOLEDO | 4000 |  | 1 | 1 | A0178899
96 | Nutrional Quality | Sample Preparations |  | Precision Balance |  |  | 1 | TE4101 |  | Sartorius | 2000 |  | 1 | 1 | A014318
97 | Nutrional Quality | Sample Preparations |  | Sealer |  |  | 3 | SF 300S |  | Samwin | 50 |  | 1 | 1 | A014324
98 | Nutrional Quality | Sample Preparations |  | Thermohydrometer |  |  | 2 | - |  | TRACEABLE | 100 |  | 1 | 1 | A015744
99 | Nutrional Quality | Drying room |  | Drying oven |  |  | 2 | ED 23 |  | BINDER | 4000 |  | 1 | 1 | A010401
100 | Nutrional Quality | Drying room |  | Freeze Dryer new |  |  | 1 | YK 118 - 50 |  | TRUE TEN | 80000 |  | 1 | 1 | A017286
101 | Nutrional Quality | Drying room |  | Horizontal Freezer / Chest Freezer |  |  | 1 | EFC70W2HTW |  | Electrolux | 1400 |  | 1 | 1 | A017023
102 | Nutrional Quality | Drying room |  | Precision Balance |  |  | 1 | MR1002 |  | METTLER TOLEDO | 4000 |  | 1 | 1 | A017283
103 | Nutrional Quality | Drying room |  | Precision Balance |  |  | 1 | ML303 |  | METTLER TOLEDO | 4000 |  | 1 | 1 | -
104 | Nutrional Quality | NIRS and XRF room |  | Deshumidifier |  |  | 2 | MFD20 - 5070R2 |  | ALFANO | 300 |  | 1 | 1 | A013286
105 | Nutrional Quality | NIRS and XRF room |  | Horizontal Freezer / Chest Freezer - 20C |  |  | 1 | EFC70W2HTW |  | Electrolux | 1400 |  | 1 | 1 | A017025
106 | Nutrional Quality | NIRS and XRF room |  | Sealer |  |  | 1 | SF 300S |  | Samwin | 50 |  | 1 | 1 | A002738
107 | Nutrional Quality | NIRS and XRF room |  | Near infrared spectroscopy (NIRS)/ XDS Rapid Content Analyser |  |  | 1 | XM 1100 Series |  | FOSS | 73000 |  | 1 | 1 | A003106
108 | Nutrional Quality | NIRS and XRF room |  | Near infrared spectroscopy (NIRS)/ Autocup Analyzer |  |  | 1 | 6500- H |  | FOSS NIRSystems |  |  | 1 | 1 | A003109
109 | Nutrional Quality | NIRS and XRF room |  | Printer Zebra |  |  | 1 | ZM400 |  | ZEBRA | 10000 |  | 1 | 1 | A003095
110 | Nutrional Quality | NIRS and XRF room |  | Thermohydrometer |  |  | 2 |  |  | Fisher Scientific | 100 |  | 1 | 1 | A015729
111 | Nutrional Quality | NIRS and XRF room |  | Thermohydrometer |  |  | 2 |  |  | TRACEABLE | 100 |  | 1 | 1 | A013300
112 | Nutrional Quality | NIRS and XRF room |  | UPS XRF |  |  | 1 | SURTA1500XL |  | APC | 200 |  | 1 | 1 | A002869
113 | Nutrional Quality | NIRS and XRF room |  | UPS NIRS |  |  | 1 | SURTA2200XL |  | APC | 200 |  | 1 | 1 | A003101
114 | Nutrional Quality | NIRS and XRF room |  | X-ray fluorescence spectrometry (XRF) |  |  | 1 | X SUPREME 8000 |  | OXFORD INSTRUMENT | 60000 |  | 1 | 1 | A002868
115 | Nutrional Quality |  | OTHER | Horizontal Freezer / Chest Freezer |  |  | 1 | EFC70W2HTW |  | ELECTROLUX | 1400 |  | 1 | 1 | A017022
116 | Nutrional Quality |  | OTHER | Thermohydrometer |  |  | 1 |  |  | TRACEABLE | 100 |  | 1 | 1 | A013297
117 | Nutrional Quality |  | OTHER | ICP (Inductively couple plasma mass spectrometry) |  |  | 1 |  |  | perkin elmer | 20000 |  | 1 | 1
118 | Nutrional Quality |  | OTHER | UPLC (ultra performance liquid chromatography) |  |  | 1 |  |  | waters | 180000 |  | 1 | 1
119 | Nutrional Quality |  | OTHER | Texture analyzer |  |  | 1 |  |  | Stable micro System | 50000 |  | 1 | 1 | A019699
120 | Nutrional Quality |  | OTHER | Freeze -70 C |  |  | 1 |  |  | Thermo Scientific | 18000 |  | 1 | 1 | A002746
121 | Nutrional Quality |  | OTHER | Computers (4 units) |  |  | 1 |  |  |  | 33000 |  | 1 | 1
122 | Farm, screenhouse and phenotyping | Screenhouse | Growth Facility | Screen Houses: 1500 m2 (1 unites of 500 m2 for breeding material production and clean copy maintainance and 1 unites for ARC production and demonstrations etc 500 m2) (1 unit for sweetpotato 500m2 (fan and cooling pad systems required) | Screen Houses: 1500 M2 for IOC. Plan for long term growth to a total of 10,000m2 |  | 1 | [5 empty] | 1 | 1
123 | Farm, screenhouse and phenotyping | Greenhouse | Growth Facility | Aeroponics (1000 M2) along with hardening chamber, tuber greening chamber and small-medium size cold storage. This can be established as 2 unites of 500 m2. | Aeroponics (1000 M2) |  | 1 |  |  |  |  | One unit as first priority and second one can be added later | 1 | 1
124 | Farm, screenhouse and phenotyping | Polyhouses | Growth Facility | Polyhouses (1000 M2) (fan and cooling pad systems required) | Polyhouses (1000 M2) |  | 1 | [5 empty] | 1 | 1
125 | Farm, screenhouse and phenotyping | Growth chamber | Growth Facility | Speed Breeding Unit: Approx 1000 m2 Area/Growth Chambers With Light, Temperature & CO2 Control | Speed Breeding Unit: Approx 1000 m2 Area/Growth Chambers With Light, Temperature & CO2 Control. |  | 1 | [5 empty] | 1 | 1
126 | Farm, screenhouse and phenotyping |  | Farm Equipement | Haulm Topper | TOPPA 800 Combi with 75 to 90 cm row width, 8 row haulm topper for seed production and breeding trials or With Shaktiman-GRIMME plant topper you can be assured of efficient haulm removal. Mechanical haulm regulation can be used to control the ripening of the crop and thus also the skin firmness as well as other quality aspects. The SGPT-200 is a robust machine which has been developed to achieve the goal with the industry best precision, while simultaneously limiting fuel consumption. |  | 1 |  |  | Shaktiman-Grimme |  |  | 1 | 1
127 | Farm, screenhouse and phenotyping |  | Farm Equipement | Deep Hiller | Shaktiman-GRIMME Deep Hiller type SGDH-200, mounted in the rear is suitable as a full width tiller for an optimum seedbed preparation for the cultivation of various vegetables and potatoes. An ideal prepared seedbed is the prerequisite for optimum development of the seed respectively planting tubers. Through intensive soil cultivation, root crop ground preparation is perfectly achieved so that undisturbed growth of the crop can be guaranteed. For conventional hilling (in a second working step) the deep hiller type SGDH-200 can be used with rear attachment at the tractor. The machine can be converted from independent rows to a full width tiller with a few simple steps. The drive is designed for a tractor output up to 75 HP. |  | 1 |  |  | Shaktiman-Grimme |  |  | 1 | 1
128 | Farm, screenhouse and phenotyping |  | Farm Equipement | Harvestor | Harvesting procedures with continuous overloading are particular efficient. The 2-row automatic elevator harvester SGPH-200 is a high-performance potato harvester with maximum crop protection & capable to save on labour cost. The straight crop flow, minimal drop steps and compact design are the most important arguments for this harvester. In addition, the open design of the main frame with Lug conveyer offers a very good view across the entire machine. |  | 1 |  |  | Shaktiman-Grimme |  |  | 1 | 1
129 | Farm, screenhouse and phenotyping |  | Farm Equipement | Planter | The SGPP-205 potato planter is easy to use with efficient technology. It’s suitable for small Indian farms and compact tractors. The professional planting element ensures precision and even spacing. With adjustable row width and fertilizer placement, it enhances planting quality and yields. |  | 1 |  |  | Shaktiman-Grimme |  |  | 1 | 1
130 | Farm, screenhouse and phenotyping |  | Phenotyping | Smart Grader reader 3.0 | Smart Grader reader 3.0 is useful for recoding tuber number and size catagories.Designed for speed, accuracy, and flexibility, this unit allows swift sampling of potatoes, onions, and other tubers in just seconds. Simply empty the sample crate into the hopper—an integrated 3D camera immediately captures height, length, and width, then calculates square size, volume, count, and weight almost instantaneously |  | 1 |  |  | https://smartgrader.com/oplossingen/reader/ |  |  | 1 | 2
131 | Farm, screenhouse and phenotyping | Nethouse | Crossing Nursery | Crossing Nursery - Net house with extended daylight (500m2) fan and cooling pad system. | Crossing Nursery - Net house with extended daylight (500m2) |  | 1 | [5 empty] | 1 | 1
132 | Farm, screenhouse and phenotyping |  | High throughput phenotyping | PlantScreenTM Phenotyping Systems | file:///C:/Users/SunilChaudhari/Downloads/PlantScreen_Systems_brochure.pdf |  | 1 | need to select the suitable one for potato. There is one publication used PlantScreenTM Modular System. ABDELHAKIM L, PLESKAČOVÁ B, RODRIGUEZ-GRANADOS NY, ET AL. (2024). High Throughput Image-Based Phenotyping for Determining Morphological and Physiological Responses to Single and Combined Stresses in Potato. J Vis Exp.(208). DOI: 10.3791/66255. PMID: 38912820. |  | https://plantphenotyping.com/documents/PlantScreen%20Phenotyping%20Systems_%202016.pdf |  |  | 1 | 2
133 | Farm, screenhouse and phenotyping |  | Farm Equipement | Tractor mounted sprayer |  |  | 1 | [5 empty] | 1 | 1
134 | Farm, screenhouse and phenotyping |  | Support Infrastructure | DG Set //generators | 320KVA needs to be confirmed against need. |  | 2 |  |  | Sudhir Power Ltd. | USD30k/ unit |  | 1 | 1
135 | Farm, screenhouse and phenotyping |  | Field equipment | Weather Station | Onset RX3004-SYS-KIT-813, HOBO RX3000 Remote Weather Station Starter Kit |  | 1 |  |  |  | 4000 USD |  | 1 | 1
136 | Farm, screenhouse and phenotyping |  | Field equipment | Micro Sprinkler | Rajdip Agritech |  | 1 ha |  |  |  | 4000USD |  | 1 | 1
137 | Farm, screenhouse and phenotyping |  | Field equipment | Drip | Rajdip Agritech |  | 1 ha |  |  |  | 6000USD |  | 1 | 1
138 | Farm, screenhouse and phenotyping |  | Field equipment | Filter, pump and other accessories | Rajdip Agritech |  | 1 |  |  |  | 2500 USD |  | 1 | 1
139 | Farm, screenhouse and phenotyping | Glasshouse | Growth Facility | Quanrantine disease screening facility (cooling system) (multiple chambers of 50 to 100m2, in 1 facility. Total size: 300m2. | A dedicated facility for Q disease testing and growing material |  | 1 |  |  |  |  | We can also include a disposal unit or treatment facility for bio-hazardous waste and pathogen cultures. Not sure if its there in pathology lab list | 1 | 2
| Farm, screenhouse and phenotyping | Glasshouse | Growth Facility | Quanrantine disease screening facility (cooling system) (multiple chambers of 50 to 100m2, in 1 facility. Total size: 300m2. | A dedicated facility for Q disease testing and growing material// support to CPRI re: capacity. |  | 2 | [5 empty] | 1 | 3
140 | Farm, screenhouse and phenotyping |  | Field equipment | Protable weather stations for field/MLTs |  |  | 4 |  |  | Hobo |  |  | 1 | 1
141 | Farm, screenhouse and phenotyping |  | Phenotyping | KONICA MINOLTA SPAD-502 Plus Chlorophyll Meter |  |  | 4 |  |  | KONICA MINOLTA SPAD-502 Plus Chlorophyll Meter |  |  | 1 | 1
142 | Farm, screenhouse and phenotyping |  | Phenotyping | LIDAR-Based Phenotyping facility for abiotic stress screenings | Used to monitor in situ shoot development in potato under varying water regimes (control vs. drought stress), capturing six 3D images per day to extract dynamic traits such as plant height (PH), 3D leaf area (A₃D), projected leaf area (A₂D), and leaf angle (LA). Offers continuous, automated monitoring in field conditions—valuable in breeding contexts aiming to associate genotypic variation with drought resilience. |  | 1 |  |  |  | Fieldscan (Phenospex) with PlantEye laserscanner. ICRISAT has such facility at HQ |  | 1 | 2
143 | Farm, screenhouse and phenotyping |  | Field equipment | Heavy Duty Rigid Cultivator (C Type) |  |  | 1 | [5 empty] | 1 | 1
144 | Farm, screenhouse and phenotyping |  | Field equipment | Rotary Tiller |  |  | 1 | [5 empty] | 1 | 1
146 | Farm, screenhouse and phenotyping |  | Field equipment | Hydraulic Disc Harrow |  |  | 1 | [5 empty] | 1 | 1
147 | Farm, screenhouse and phenotyping |  | Field equipment | Agriculture Hexacopter Drone (Medium Category) | Nutrients, insecticides, and fungicides are efficiently sprayed over half a hectare by a drone within 7 to 8 minutes. |  | 1 | [5 empty] | 1 | 1
148 | Farm, screenhouse and phenotyping |  | Field equipment | Kethi Rakshak | Kethi Rakshak is an IoT-based bioacoustics device designed to protect crops from wild animals by emitting loud, predatory, distress, and alarm calls. It's used to deter animals like wild boars, nilgai, monkeys, and others from agricultural fields. |  | 1 | [5 empty] | 1 | 1
149 | Residual Testing |  | Residual Testing | LC-MS/MS (Triple Quadrupole) |  |  | 1 | TSQ Altis™ or TSQ Quantis™ |  | Thermo Scientific / Agilent / Waters / Shimadzu | 30000000 |  | 3 | 3
150 | Residual Testing |  | Residual Testing | GC-MS/MS (Triple Quadrupole) |  |  | 1 | TSQ 9000™ GC-MS/MS |  | Thermo Scientific / Agilent / Shimadzu | 22000000 |  | 3 | 3
151 | Residual Testing |  | Residual Testing | HPLC (with UV/FLD Detector) |  |  | 1 | LC-2030C Plus |  | Shimadzu / Thermo Scientific | 1500000 |  | 3 | 3
152 | Residual Testing |  | Residual Testing | High-Speed Centrifuge |  |  | 1 | Sorvall™ LYNX 4000 |  | Eppendorf / Thermo Scientific | 800000 |  | 3 | 3
153 | Residual Testing |  | Residual Testing | Nitrogen Evaporator System |  |  | 1 | TurboVap® LV |  | Biotage / Thermo | 1000000 |  | 3 | 3
154 | Residual Testing |  | Residual Testing | Analytical Balance (0.1 mg) |  |  | 1 | ME204T |  | Mettler Toledo / Sartorius | 250000 |  | 3 | 3
155 | Residual Testing |  | Residual Testing | Homogenizer/Grinder |  |  | 1 | T 25 digital ULTRA-TURRAX® |  | IKA / Thermo Scientific | 500000 |  | 3 | 3
156 | Residual Testing |  | Residual Testing | Vortex Mixer |  |  | 1 | VORTEX Genius 3 |  | IKA / Thermo | 75000 |  | 3 | 3
157 | Residual Testing |  | Residual Testing | Ultrasonic Bath |  |  | 1 | Branson 5800 Ultrasonic Cleaner |  | Branson / Thermo | 150000 |  | 3 | 3
158 | Residual Testing |  | Residual Testing | Refrigerator (4°C) & Deep Freezer (-20°C & -80°C) |  |  | 1 | TSX Series Ultra-Low Freezer |  | Thermo Fisher / Haier Biomedical | 800000 |  | 3 | 3
159 | Residual Testing |  | Residual Testing | Fume Hood with Exhaust System |  |  | 1 | Protector® Premier Laboratory Hood |  | Thermo Scientific / Labconco | 600000 |  | 3 | 3
160 | Residual Testing |  | Residual Testing | Calibrated Volumetric Glassware (Class A) |  |  | 1 | Cat# varies by volume (e.g., 3160 for 1000 mL) |  | Borosil / Brand | 200000 |  | 3 | 3
161 | Residual Testing |  | Residual Testing | Micropipettes (Adjustable set) |  |  | 1 | Research® Plus Set (Cat# 3123000030) |  | Eppendorf / Thermo | 150000 |  | 3 | 3
162 | Residual Testing |  | Residual Testing | QuEChERS Kits and Consumables |  |  | 1 | Cat# 55200-U |  | Sigma-Aldrich | 300000 |  | 3 | 3
163 | Residual Testing |  | Residual Testing | UPS/Power Backup System |  |  | 1 | Smart-UPS SRT 10kVA |  | APC / Eaton | 500000 |  | 3 | 3
164 | Residual Testing |  | Residual Testing | pH Meter & Conductivity Meter |  |  | 1 | Orion™ Star A215 |  | Thermo / Mettler Toledo | 150000 |  | 3 | 3
165 | Residual Testing |  | Residual Testing | Certified Reference Standards (CRMs) for Herbicides |  |  | 1 | Varies (Herbicide Mix - Sigma/Dr. Ehrenstorfer) |  | Sigma-Aldrich / Dr. Ehrenstorfer | 800000 |  | 3 | 3
166 | Residual Testing |  | Residual Testing | Solvent Filtration System |  |  | 1 | Cat# XX1004700 |  | Millipore (Merck) | 400000 |  | 3 | 3
167 | Residual Testing |  | Residual Testing | Laboratory Furniture & Workstations |  |  | 1 | Custom ISO-standard |  | Custom (ISO-standard lab furniture) | 2500000 |  | 3 | 3
168 | Post Harvest and Processing | Post Harvest and Processing |  | Small Potato Peeler | Potato peeler for the capacity of around 2-5 kg per batch |  | 1 |  |  | Kanchan metal have some piller but with 25 kg per batch, need to find right sized one for breeding trials processing analysis |  |  | 2 | 2
169 | Post Harvest and Processing | Post Harvest and Processing |  | Kiremko - FAM Centris slicer | The FAM Centris is perfect for centrifugal slicing of potato and vegetable chips. Tested and in production since 2015, the line has an ever-expanding range of blades in all shapes and sizes. |  | 1 | [5 empty] | 2 | 2
170 | Post Harvest and Processing | Post Harvest and Processing |  | Underwaterweigher for potatoes | With the ONW RI6000E you can quickly and easily determine the proportion of dry matter and starch of potatoes. The device consists of a Robbe weighing indicator, a loadcell, one stainless steel basket and a barrel filled with water. |  | 1 |  |  | Robbe Industries |  |  | 2 | 2
171 | Post Harvest and Processing | Post Harvest and Processing |  | Fry master | To fry chips and french fries for breeding trials |  | 1 | [5 empty] | 2 | 2
172 | Post Harvest and Processing | Value addition |  | Root/vegetable washer | For washing sweetpotato roots and potato tubers for processing |  | 1 | [5 empty] | 2 | 2
173 | Post Harvest and Processing | Value addition |  | Electrical Steaming vat | For steaming or boiling sweetpotato and potatoes for processing or sensory evaluation |  | 1 | [5 empty] | 2 | 2
174 | Post Harvest and Processing | Value addition |  | Puree processor (mincer) | For mashing steamed sweetpotato roots with small cutting plate for smooth puree |  | 1 | [5 empty] | 2 | 2
175 | Post Harvest and Processing | Value addition |  | Vacuum sealer | For packaging puree for cold storage |  | 1 | [5 empty] | 2 | 2
176 | Post Harvest and Processing | Value addition |  | Solar Drier | A dehydrator or vacuum drier is better than a drying oven in terms of nutrient retention - to be used to make flour or any other dry products like starch |  | 1 | [5 empty] | 2 | 2
177 | Post Harvest and Processing | Value addition |  | YSI Reader | for sugar calculation |  | 1 | [5 empty] | 2 | 2
178 | Post Harvest and Processing | Value addition |  | Oven | Dry matter |  | 1 | [5 empty] | 2 | 2
179 | Post Harvest and Processing | Washing |  | washer/peeler | rotary drum or brush type |  | 1 | [5 empty] | 2 | 2
180 | Post Harvest and Processing | Post Harvest and Processing |  | weighing balance |  |  | 1 | [5 empty] | 2 | 2
181 | Post Harvest and Processing | Dry matter measurement |  |  |  |  | 1 | [5 empty] | 2 | 2
182 | Post Harvest and Processing | Storage |  | diffuse light storage |  |  | 1 | [5 empty] | 2 | 2
183 | Post Harvest and Processing | Storage |  | Cold storage |  |  | 1 | [5 empty] | 2 | 2
184 | Post Harvest and Processing | Post Harvest and Processing |  | bruising sensitivity test |  |  | 1 | [5 empty] | 2 | 2
185 | Post Harvest and Processing | Post Harvest and Processing |  | Martin Lishman - Potato Hot Box | The Martin Lishman Potato Hot Box range is used for on-farm, processing and supermarket quality control. Monitoring for bruising and disease avoids costly rejections and ensures high quality product. The Hot Box reduces bruise development time from several days to just 12 hours. Faster monitoring for bruising and disease avoids costly rejections and assists in the drive for the highest quality product. |  | 1 |  |  | Martin Lishman - Potato Hot Box but we search if any other brand |  |  | 2 | 2
186 | Post Harvest and Processing | Post Harvest and Processing |  | Specific gravity measurer | dry matter estimation |  | 1 | [5 empty] | 2 | 2
187 | Sensory and Organolaptic | Kitchen |  | Stove with oven |  | For cooking samples | 1 |  |  | Local brands |  |  | 2 | 2
188 | Sensory and Organolaptic | Sensory and Organolaptic |  | Fridge with freezer component |  | For storing ingredients for sensory training and reference materials | 1 |  |  | Local brands |  |  | 2 | 2
189 | Sensory and Organolaptic | Sensory and Organolaptic |  | Kitchen utensils |  | Basic kitchen stand with Pots, pans, cutting boards, plates, cutlery, cups, etc | 1 |  |  | Local brands |  |  | 2 | 2
190 | Sensory and Organolaptic | Sensory and Organolaptic |  | Analytical balance |  | for weighing ingredients and samples | 1 | [5 empty] | 2 | 2
191 | Sensory and Organolaptic | Sensory evaluation room |  | Sensory booths |  | For use by sensory panel during sensory evaluations | 10 to 15 |  |  | Local brands/custom made |  |  | 2 | 2
192 | Farm, screenhouse and phenotyping |  | Phenotyping | Portable photosynthesis system | Used to measure a series of gas exchange parameters such as photosynthetic rate, respiration rate and transpiration rate, and chlorophyll fluorescence. |  | 1 | LI-6800 |  |  |  |  | 2 | 2
193 | Farm, screenhouse and phenotyping |  | Phenotyping | Root analysis system | Used to wash after the root of professional root analysis system, The potato experiments can analyze root length, diameter, area, volume, root number, etc., powerful functions, simple operation, widely used in the study of root morphology and structure. |  | 1 | WinRhizo Pro LA2400 |  |  |  |  | 2 | 2
194 | Farm, screenhouse and phenotyping |  | Phenotyping | ChlorophyII content meter | GreenSeeker hand-held spectrometer is a crop research and diagnostic tool that can provide the ratio of red light to near infrared of vegetation normalized index (NDVI) and vegetation. These indexes can be used as a reference for potato experiments, and reflect crop response to nutrients, crop growth conditions, potential yield, stress and the effects of diseases and insect pests. The system can also be used to monitor changes in the field (crop, vegetation) environment during crop growth, or to compare the differences between different fertilization rates and local standard fertilization rates. |  | 1 | GreenSeeker |  |  |  |  | 2 | 2
195 | Farm, screenhouse and phenotyping |  | Phenotyping | Portable Raman Spectrometer | Test results and temperatures for measuring PH/mV/RmV or conductivity /TDS/ salinity/resistivity of potato samples. |  | 1 | 420C-01A |  |  |  |  | 2 | 2
196 | Farm, screenhouse and phenotyping |  | Phenotyping | Leaf area meter | Various parameters of potato leaf can be measured: leaf area, average leaf area, leaf length, leaf width, aspect ratio, etc. |  | 1 | YMJ-B |  |  |  |  | 2 | 2
197 | Farm, screenhouse and phenotyping |  | Phenotyping | Camera | Image collection for the potato experiment. |  | 1 |  |  | Canon or Nikon |  |  | 2 | 2
198 | Farm, screenhouse and phenotyping |  | Phenotyping | Seed counter |  |  | 1 | [5 empty] | 2 | 2
199 | Nutrional Quality |  | Nutrional Quality | Texture analyser with 50kg load cell |  | CTX Texture Analyzer is the latest innovation in material testing. Designed for both compression and tension testing, the CTX is ideal for labs that require quick, reliable results to maintain productivity without compromising quality. | 1 | TA.XTplus100C Texture Analyser |  | Stable Micro Systems or Bookfield Ametex |  |  | 2 | 2
200 | Nutrional Quality |  | Nutrional Quality | DigiEye (VeriVide) |  | DigiEye (VeriVide) system is basically a high-precision, computer-controlled imaging setup used for objective, repeatable color measurement and visual quality assessment | 1 | DigiEye (VeriVide) |  |  |  |  | 2 | 2
201 | Nutrional Quality |  | Nutrional Quality | Rapid Visco-Analyser (RVA) |  | Starch quality evaluation – Determines pasting temperature, peak viscosity, breakdown, setback, and final viscosity, which influence processing performance | 1 | [5 empty] | 2 | 2
202 | Nutrional Quality |  | Nutrional Quality | Differential scanning calorimeter (DSC) |  |  | 1 | [5 empty] | 2 | 2
203 | Diagnostics Lab |  | Diagnostics Lab | Compound Microscope With Phase Contrast, Interference Contrast, Microphotography, Image Analyser Etc. |  |  | 2 | [5 empty] | 1 | 1
204 | Diagnostics Lab |  | Diagnostics Lab | Stereobinoculer Microscope With Micro-Photography & Image Analyzer |  |  | 1 | [5 empty] | 1 | 1
205 | Diagnostics Lab |  | Diagnostics Lab | Stereo microscope with camera and illumination | Leica M125 C, 65 W external illuminator for bright images including high definition C-mount camera "MOTICAM 580" with - microSD card - C- mount microscope connection Used for PCN and Soil Borne Disease Diagnostics |  | 1 | Leica M125 C, 65 W |  | Leica |  |  | 1 | 1
206 | Diagnostics Lab |  | Diagnostics Lab | Genie® III | Used for rapid detection of potato pathogens such as viruses, bacteria, and fungi using LAMP technology. |  | 1 |  |  | Optigene |  |  | 1
207 | Diagnostics Lab |  | Diagnostics Lab | Nanopore sequencer |  |  | 1 | [5 empty] | 1
208 | Diagnostics Lab |  | Diagnostics Lab | Qubit Nucleic acid analyzer |  |  | 1 | [5 empty] | 1
209 | Diagnostics Lab |  | Diagnostics Lab | Gel Electrophoresis Unit |  |  | 4 | [5 empty] | 1
210 | Diagnostics Lab |  | Diagnostics Lab | ELISA Plate Washer | ELISA Plate Washer |  | 1 | [5 empty] | 1
211 | Diagnostics Lab |  | Diagnostics Lab | Nano Drop Spectrophotometer | Nano Drop Spectrophotometer |  | 1 | [5 empty] | 1
212 | Diagnostics Lab |  | Diagnostics Lab | Magnetic Stirrer |  |  | 2 | [5 empty] | 1
213 | Diagnostics Lab |  | Diagnostics Lab | Micropipettes |  |  | 5 | [5 empty] | 1
214 | Diagnostics Lab |  | Diagnostics Lab | Eppendorf Electric Pipette (8 channel different volumes) |  |  | 2 | [5 empty] | 1 | 1
215 | Diagnostics Lab |  | Diagnostics Lab | Atomic Absorption Spectrophotometer |  |  | 1 | [5 empty] | 1 | 2
216 | Farm, screenhouse and phenotyping |  | Field equipment | Laser land levellers | Laser land levellers |  | 1 | [5 empty] | 1 | 1
217 | Farm, screenhouse and phenotyping |  | Field equipment | Raised bed planters | Raised bed planters |  | 1 | [5 empty] | 1 | 1
218 | Farm, screenhouse and phenotyping |  | Field equipment | Tractors | Tractors 45-65 hp |  | 2 | [5 empty] | 1 | 1
219 | Farm, screenhouse and phenotyping |  | Field equipment | Potato Diggers- Small R&D Plots | Potato Diggers- Small R&D Plots |  | 1 | [5 empty] | 1 | 1
220 | Farm, screenhouse and phenotyping |  | Field equipment | MB Ploughs | MB Ploughs |  | 1 | [5 empty] | 1 | 1
221 | Farm, screenhouse and phenotyping |  | Field equipment | Weeders & Ridgers | Weeders & Ridgers |  | 1 | [5 empty] | 1 | 1
222 | Farm, screenhouse and phenotyping |  | Field equipment | Car | Car |  | 1 | [5 empty] | 1 | 1
223 | Farm, screenhouse and phenotyping |  | Field equipment | Drip Irrigation (one ha) | Drip Irrigation (one ha) |  | 1 | [5 empty] | 1 | 1
225 | Post Harvest and Processing | Post Harvest and Processing |  | Top Loading Balances upto 100 kg |  |  | 3 | [5 empty] | 2 | 2
226 | Diagnostics Lab |  | Diagnostics Lab | Incubator Shakers | Temperature-controlled incubator with orbital shaking platform for uniform mixing and incubation of liquid cultures | Used for growing and maintaining microbial cultures for potato pathology, biotechnology, and tissue culture research | 1 | MaxQ 8000 Incubated Stackable Shaker |  | Thermo Fisher |  |  | 1
227 | Diagnostics Lab |  | Diagnostics Lab | Desiccator Cabinet Electronic Auto | Sealed storage cabinet with electronically controlled drying unit to maintain low humidity for moisture-sensitive samples | Stores dried potato samples, starch, and reagents in a moisture-free environment to preserve quality before analysis | 1 | [5 empty] | 1 | 1
228 | Post Harvest and Processing | Post Harvest and Processing |  | Color-Guide Spectrophotometer |  |  | 1 | [5 empty] | 2 | 2
229 | Post Harvest and Processing | Post Harvest and Processing |  | Water Baths | Temperature-controlled tank for heating samples in water at uniform, precise temperatures | Used for enzyme inactivation, starch gelatinization tests, and other controlled heating processes in potato research | 2 |  |  | Julabo (SW Series), |  |  | 2 | 2
230 | Office/Meeting room | Office/Meeting room |  | Multi-Media Speaker System | Powered speaker set with subwoofer and stereo output for audio playback from computers or media devices | Provides clear audio output for training sessions, meetings, and extension activities in potato R&D programs | 1 |  |  | Logitech Z533 / Z623, Creative Pebble Plus, Bose Companion 2 Series III |  |  | 1 | 1
231 | Post Harvest and Processing | Post Harvest and Processing |  | Refrigerators |  |  | 2 | [5 empty] | 2 | 2
232 | Post Harvest and Processing | Post Harvest and Processing |  | Canopy Hoods | Overhead ventilation system designed to capture and exhaust heat, steam, odors, and airborne particulates from work areas | Removes heat, moisture, and vapors from potato processing or lab spaces to maintain safe working conditions | 1 | [5 empty] | 2 | 2
233 | IT and Office Equipment | IT and Office Equipment |  | Desk Top Computers With Accessories | Desk Top Computers With Accessories |  | 3 | [5 empty] | 1 | 1
234 | IT and Office Equipment | IT and Office Equipment |  | Laptops With Accessories | Laptops With Accessories |  | 3 | [5 empty] | 1 | 1
235 | IT and Office Equipment | IT and Office Equipment |  | Colour Printers | Colour Printers |  | 1 | [5 empty] | 1 | 1
236 | IT and Office Equipment | IT and Office Equipment |  | B &W Printers | B &W Printers |  | 3 | [5 empty] | 1 | 1
237 | IT and Office Equipment | IT and Office Equipment |  | Scanners | Scanners |  | 2 | [5 empty] | 1 | 1
238 | IT and Office Equipment | IT and Office Equipment |  | UPS | Multiple Units of Different Capacities |  | 4 | [5 empty] | 1 | 1
239 | Farm, screenhouse and phenotyping | Open top chamber | Controlled Environment Research | Open-top chambers (OTC) for research under elevated CO2 | Open-top chambers (OTC) for research under elevated CO2 |  | 3 | [5 empty] | 2 | 2
240 | Farm, screenhouse and phenotyping | growth chamber | Controlled Environment Research | Controlled environment temperature gradient tunnels (CTGT) for different levels of heat and CO2 | Controlled environment temperature gradient tunnels (CTGT) for different levels of heat and CO2 |  | 1 | [5 empty] | 2 | 2
241 | Diagnostics Lab |  | Diagnostics Lab | Glassware, ELISA Kits, LAMP Assays, DNA plates, Labels, Chemicals etc. |  | Glassware, ELISA Kits, LAMP Assays, DNA plates, Labels, Chemicals etc. | 1 | [5 empty] | 1
242 | Soil Testing | Soil Lab |  | Solid Total Organic Carbon (TOC) Analyzer | Instrument for high-precision quantification of organic carbon in solid samples using combustion or chemical oxidation | Measures organic carbon content in potato soils, residues, and compost for soil health and carbon sequestration studies | 1 | QSI |  | QSI |  |  | 3 | 3
243 | Diagnostics Lab |  | Diagnostics Lab | Soil Gas Flux (N2O, CH4) | Automated or manual chamber-based system with gas analyzers for N₂O and CH₄ quantification | Measures nitrous oxide and methane emissions from potato fields for environmental and management studies | 1 |  |  | LI-COR Biosciences |  |  | 1 | 1
244 | Post Harvest and Processing | Post Harvest and Processing |  | Planetary Mill (Pulverisette 5 model) | The Planetary Mill PULVERISETTE 5 premium line with 2 grinding stations is the ideal mill for fast wet and dry grinding of hard, medium-hard, soft, brittle and moist samples as well as for mechanical alloying, mixing and homogenising of larger sample quantities with reliable results down into the nano range – and an absolutely secure automatic clamping of the grinding bowls. |  | 1 | FRITSCH Planetary Ball Mills |  | FRITSCH |  |  | 2 | 2
245 | Farm, screenhouse and phenotyping |  | Phenotyping | Eddy Covariance Tower | Micrometeorological system with 3D sonic anemometer and gas analyzers | Measures CO₂, water vapor, and energy fluxes to assess crop productivity and GHG emissions | 1 |  |  | LI-COR Biosciences, |  |  | 2 | 2
246 | Farm, screenhouse and phenotyping |  | Phenotyping | Portable meteorological station, Vantage Pro2 Plus | Field weather station with sensors for temp, humidity, rainfall, wind, solar radiation | Monitors climate data to guide potato crop management and research | 4 | Vantage Pro2 Plus |  | Davis Instruments |  |  | 2 | 2
247 | Farm, screenhouse and phenotyping |  | Phenotyping | Digital camera with movable screen, Nikon D5300 | Digital Camera with Movable Screen, Nikon D5300 is a DSLR camera used for high-quality photographic documentation of potato plants, tubers, and experiments in both field and laboratory settings |  | 1 | Nikon D5300 |  |  |  |  | 2 | 2
248 | Post Harvest and Processing | Post Harvest and Processing |  | Universal oven, UF450 | The Universal Oven, UF450 is a laboratory drying and heating oven used for precise thermal treatment, drying, and conditioning of samples under controlled temperature conditions. |  | 1 | Memmert – UF450 |  |  |  |  | 2 | 2
249 | Remote Sensing and Crop Modelling | Remote Sensing |  | Thermal camera, FLIR C5 |  |  | 1 | [5 empty] | 2 | 2
250 | Soil Testing | Soil Lab |  | Soil Probe Kit, model B |  | Soil Probe Kit, Model B is a field tool used to collect soil samples from specific depths for nutrient analysis, salinity testing, moisture content measurement, and other soil quality studies. | 1 | Oakfield Apparatus |  |  |  |  | 3 | 3
251 | Remote Sensing and Crop Modelling | Crop Modelling |  | Digital thermometer, PCE-675 |  |  | 2 | https://ageagle.com/drone-sensors/altum-pt-camera/ |  |  |  |  | 2 | 2
252 | Remote Sensing and Crop Modelling | Remote Sensing |  | Multispectral and Thermal camera, ALTUM – PT for advanced remote sensing and agricultural research. | Multispectral and Thermal camera, ALTUM – PT for advanced remote sensing and agricultural research. |  | 1 | Matrice 350 RTK - DJI |  |  |  |  | 2 | 2
253 | Remote Sensing and Crop Modelling | Crop Modelling |  | MATRICE 350 - RTK |  |  | 1 | Matrice 350 RTK - DJI |  |  |  |  | 2 | 2
254 | Remote Sensing and Crop Modelling | Crop Modelling |  | MATRICE 600 |  |  | 1 | https://www.dji.com/global/matrice600/info |  |  |  |  | 2 | 2
255 | Remote Sensing and Crop Modelling | Crop Modelling |  | Hyperspectral microCASI-1920 |  |  | 1 | https://geo-matching.com/products/microcasi-1920 |  |  |  |  | 2 | 2
256 | Statistics & Data management | Digital data recording |  | Rugged tablet/handheld |  | Tablets to be used in greenhouses and fields for digital data recording (FieldBook App, crossing app) | 7 |  |  | Android software (e.g. samsung) |  |  | 2 | 2
257 | Statistics & Data management | Digital data recording |  | Smartphone |  | Tablets to be used in lab for digital data recording during plate preparation for genotyping (Coordinate App) | 2 |  |  | Android software (e.g. samsung) |  |  | 2 | 2
258 | Statistics & Data management | Digital data recording |  | Digital scale | Bluetooth enabled digital scale, capacity 40-60kg |  | 5 |  |  | CRAN model OCS-L with Bluetooth (HC05 Bluetooth classic, |  |  | 2 | 2
259 | Statistics & Data management | [8 empty] | OCS-10A JDY-23A-BLE scales or BLE Serial port) |  |  | 2 | 2
260 | Statistics & Data management | Digital data recording |  | Desktop zebra printer |  | Desktop zebra printer to print labels in advance for usage in the field, lab or greenhouse | 2 |  |  | Zebra ZT230, model UN3481 |  |  | 2 | 2
261 | Statistics & Data management | Digital data recording |  | Portable zebra printer |  | Portable zebra printer for mobile, on-the-go, printing (e.g. useful for labeling when crossing) | 2 |  |  | Zebra ZM400 (portable) |  |  | 2 | 2
262 | Statistics & Data management | Digital data recording |  | Self-tie labels |  | Labels to label plots in the field or crosses in the crossing block | 50000 (50 rolls of 1000) |  |  | Self-tie labels (polyplas material, 150 microns, 4 across) |  |  | 2 | 2
263 | Statistics & Data management | Digital data recording |  | Adhesive labels |  | Labels to label pots in the greenhouse | 30000 (30 rolls of 1000) |  |  | Adhesive labels Z-Perform 1000T - Plain PP White self-adhesive film labels special layout 3 Across 33 x 35 mm |  |  | 2 | 2
264 | Statistics & Data management | Digital data recording |  | Wax ribbons |  | Wax ribbons for the zebra printers (replacing toner in standard label printer) | 50 rolls |  |  | Premium Wax ribbons (110mm x 450M OW Wax AWR) |  |  | 2 | 2
265 | Statistics & Data management | Digital data recording |  | Zebra Designer Pro 2 license | License for Zebra Designer Pro 2 Software enabling label design |  | 2 |  |  | Zebra |  |  | 2 | 2
266 | Statistics & Data management |  | Phenotyping | Hydrometer | Hydrometer using specific gravity to quickly determine dry matter |  | 4 |  |  | WELTECH |  |  | 2 | 2
267 | Statistics & Data management | Data analysis |  | ASReml-R license |  | Software needed to fit linear mixed models using REML | 2 |  |  | VSNi |  |  | 2 | 3
268 | Statistics & Data management | Data analysis |  | CycDesign license |  | Software for experimental design generation | 1 |  |  | VSNi |  |  | 2 | 2
269 | Statistics & Data management | Data management |  | Cost EBS instance | Cost sharing of CIP EBS instance |  | 1 |  |  | Share of annual cost EBS instance for CIP |  |  | 2 | 3
270 | Diagnostics Lab |  | Diagnostics Lab | Electronic balance |  |  | 3 | Mettler Toledo AE 240-S (4 digit) |  |  | 11000 |  | 1 | 1
271 | Diagnostics Lab |  | Diagnostics Lab | Electronic Balance |  |  | 2 | Mettler Toledo PM2000 (2 digit) |  |  | 4000 |  | 1 | 1
272 | Diagnostics Lab |  | Diagnostics Lab | Data Logger & thermocouple |  |  | 1 | Lascar EL-USB-TC-LCD and thermocouple (+100°C to -100°C) |  |  | 150 | 1 for each isothermal equipment | 1 | 1
273 | Diagnostics Lab |  | Diagnostics Lab | Datalogger (HOBO) |  |  | 1 | Onset HOBO U14-001 Temperature/Humidity Data Logger, int. sensors |  |  | 200 | 1 for each growth chamber | 1 | 1
274 | Diagnostics Lab |  | Diagnostics Lab | Orbital Shaker |  |  | 1 | KIKA Labortechnik |  |  | 4000 |  | 1 | 1
275 | Diagnostics Lab |  | Diagnostics Lab | Autoclave |  |  | 3 | Market Forge STM-EL |  |  | 18000 | 1 for dirty material and two for clean material | 1 | 1
276 | Diagnostics Lab |  | Diagnostics Lab | Incubator |  |  | 1 | Fisher Scientific Isotemp 6847 |  |  | 7000 |  | 1 | 1
277 | Diagnostics Lab |  | Diagnostics Lab | PCR WORKSTATION |  |  | 2 | FISHER SCIENTIFIC |  |  | 8000 |  | 1 | 1
278 | Diagnostics Lab |  | Diagnostics Lab | HOOD |  |  | 2 | LABCONCO 6Ft (with cabinets for chemical storage) |  |  | 13000 |  | 1 | 1
279 | Diagnostics Lab |  | Diagnostics Lab | Real-Time PCR Thermal Cycler and PC |  |  | 1 | APPLIED BIOSYSTEMS STEPONEPLUS |  |  | 45000 | consider to buy a PC with required specs | 1 | 1
280 | Diagnostics Lab |  | Diagnostics Lab | End point PCR Thermal Cycler |  |  | 2 | APPLIED BIOSYSTEMS VERITI PRO 96 WELL (Gradient PCR) |  |  | 10000 |  | 1 | 1
281 | Diagnostics Lab |  | Diagnostics Lab | MinIon portable nanopore sequencing device |  |  | 1 | Oxford nanopore technologies. MinION mk 1B |  |  | 10000 | consider to buy a PC with required specs | 1 | 1
282 | Diagnostics Lab |  | Diagnostics Lab | Processor for MinIon nanopore |  |  | 1 | Processor (minimum 16 GB RAM, a quad-core processor (Intel i5/i7 or AMD equivalent, or Apple M2/M3/M4 series), and a USB 3.0 port for connection and 4TB SSD is recommended) |  |  | 4000 |  | 1 | 1
283 | Diagnostics Lab |  | Diagnostics Lab | refrigerator +4°C |  |  | 3 |  |  |  | 500 | there are several options in the market | 1 | 1
284 | Diagnostics Lab |  | Diagnostics Lab | UPRIGHT FREEZER -30 |  |  | 4 | THERMO SCIENTIFIC ULT3030D |  |  | 6000 |  | 1 | 1
285 | Diagnostics Lab |  | Diagnostics Lab | UPRIGHT FREEZER -70 |  |  | 3 | THERMO SCIENTIFIC 906 |  |  | 13000 |  | 1 | 1
286 | Diagnostics Lab |  | Diagnostics Lab | UPRIGHT FREEZER -80 |  |  | 1 | THERMO SCIENTIFIC 89000 series |  |  | 15000 |  | 1 | 1
287 | Diagnostics Lab |  | Diagnostics Lab | WATER BATH EQUIPMENT |  |  | 1 | THERMO 2353 |  |  | 6000 |  | 1 | 1
288 | Diagnostics Lab |  | Diagnostics Lab | WATER SYSTEM DISTILLATION Type 2 water |  |  | 1 | ELIX Advantage 5 |  |  | 20000 |  | 1 | 1
289 | Diagnostics Lab |  | Diagnostics Lab | WATER SYSTEM DISTILLATION |  |  | 1 | BARNSTEAD Fitstreem III Glass Still |  |  | 15000 |  | 1 | 1
290 | Diagnostics Lab |  | Diagnostics Lab | STANDING CENTRIFUGE and 1 rotor |  |  | 1 | BECKMAN COULTER J26XP |  |  | 47000 | include at least 1 rotor (approx. $15K) | 1 | 1
291 | Diagnostics Lab |  | Diagnostics Lab | BENCHTOP CENTRIFUGE |  |  | 2 | EPPENDORF 5424 |  |  | 5000 |  | 1 | 1
292 | Diagnostics Lab |  | Diagnostics Lab | BENCHTOP REFRIGERATED CENTRIFUGE |  |  | 4 | EPPENDORF 5424R |  |  | 11000 |  | 1 | 1
293 | Diagnostics Lab |  | Diagnostics Lab | SPECTROPHOTOMETER and PC |  |  | 1 | BIOTEK EPOCH |  |  | 4500 | consider to buy a PC with required specs | 1 | 1
294 | Diagnostics Lab |  | Diagnostics Lab | DOCUMENTATION GEL SYSTEM and PC |  |  | 1 | UVITEC FIREREADER V10 |  |  | 15000 | consider to buy a PC with required specs | 1 | 1
295 | Diagnostics Lab |  | Diagnostics Lab | Laminar Flow Chamber |  |  | 1 | LABCONCO (vertical flow) |  |  | 13000 |  | 1 | 1
296 | Diagnostics Lab |  | Diagnostics Lab | Laminar Flow Chamber |  |  | 1 | LABCONCO (horizontal flow) |  |  | 13000 |  | 1 | 1
297 | Diagnostics Lab |  | Diagnostics Lab | SAVANT SPEED VAC KIT |  |  | 1 | THERMOFISHER SCIENTIFIC SPD2010-220 |  |  | 19000 |  | 1 | 1
298 | Diagnostics Lab |  | Diagnostics Lab | Standard weight set |  |  | 1 | RICE LAKE Standard weight set |  |  | 1500 | for internal verification of balances | 1 | 1
299 | Diagnostics Lab |  | Diagnostics Lab | End point PCR Thermal Cycler |  |  | 4 | APPLIED BIOSYSTEMS VERITI MiniAmp TM A37028 |  |  | 6000 |  | 1 | 1
300 | Diagnostics Lab |  | Diagnostics Lab | MULTIPLE PORTATIL PH METER |  |  | 2 | THERMO 310 |  |  | 1200 |  | 1 | 1
301 | Diagnostics Lab |  | Diagnostics Lab | SPECTROPHOTOMETER |  |  | 1 | THERMO SCIENTIFIC NanoDrop -ONE C |  |  | 19000 |  | 1 | 1
302 | Diagnostics Lab |  | Diagnostics Lab | FLUOROMETER |  |  | 2 | INVITROGEN- QUBIT 4.0 |  |  | 6000 |  | 1 | 1
303 | Diagnostics Lab |  | Diagnostics Lab | Tissue Homogenizer |  |  | 2 | Next Advance -Bullet Blender Storm Pro (24 tubes) |  |  | 12000 | There are other options (FASTPREP-MPI; Tissue Homogenizer Qiagen, etc.) need to be defined according to needs | 1 | 1
304 | Diagnostics Lab |  | Diagnostics Lab | pH meter |  |  | 2 | HANNA HI5221 |  |  | 700 |  | 1 | 1
305 | Diagnostics Lab |  | Diagnostics Lab | INCUBATOR SHAKER |  |  | 3 | Thermo Fisher Scientific MAXQ 4450 |  |  | 6600 |  | 1 | 1
306 | Diagnostics Lab |  | Diagnostics Lab | Oven |  |  | 1 | THERMO SCIENTIFIC 6910 (50°C-210°C) |  |  | 6000 |  | 1 | 1
307 | Diagnostics Lab |  | Diagnostics Lab | Thermomixer |  |  | 2 | EPPENDORF ThermoMixer F2.0 |  |  | 3500 |  | 1 | 1
308 | Diagnostics Lab |  | Diagnostics Lab | ELECTROPHORETIC BIOANALYZER SYSTEM and PC |  |  | 1 | KALIPE AGILENT 2100 |  |  | 9000 | consider to buy a PC with required specs | 1 | 1
309 | Diagnostics Lab |  | Diagnostics Lab | Benchtop LYOPHYLIZER |  |  | 1 | SP SCIENTIFIC ADVANTAGE PLUS XL-70 |  |  | 15000 |  | 1 | 1
310 | Diagnostics Lab |  | Diagnostics Lab | Optical microplate reader and PC |  |  | 2 | BIORAD Tecan Sunrise |  |  | 7000 | in case you still consider performing serological tests (ELISA) | 1 | 1
311 | Diagnostics Lab |  | Diagnostics Lab | Plate washer |  |  | 1 | THERMOSCIENTIFIC- WELLWASH VERSA 2 X 8, |  |  | 12000 | in case you still consider performing serological tests (ELISA) | 1 | 1
312 | Diagnostics Lab |  | Diagnostics Lab | PLANT GROWTH CHAMBER |  |  | 4 | BIOTRON ( NK-SYSTEM) LH-240N |  |  | 10000 | 1 for fugi work, 1 for bacteria and/or virus work and 2 for reference material collections | 1 | 1
313 | Diagnostics Lab |  | Diagnostics Lab | ICE MAKER |  |  | 1 | SCOTSMAN Ice Maker Model AF103AS |  |  | 6000 |  | 1 | 1
314 | Diagnostics Lab |  | Diagnostics Lab | ELECTROPHORESIS EQUIPMENT (power supply) |  |  | 5 | Cleavert Model CS-300V (100-240V) |  |  | 2500 |  | 1 | 1
315 | Diagnostics Lab |  | Diagnostics Lab | ELECTROPHORESIS EQUIPMENT (tanks & accessories) |  |  | 5 | Cleavert (Tanks of different sizes & accesories) |  |  | 1000 | should consider accessories (combs, trays, rubbers, etc.) | 1 | 1
316 | Diagnostics Lab |  | Diagnostics Lab | MICROWAVE |  |  | 2 | SAMSUMG |  |  | 100 |  | 1 | 1
317 | Diagnostics Lab |  | Diagnostics Lab | UV transilluminator |  |  | 1 | Fotodyne Incorporated UV Transilluminator |  |  | 500 |  | 1 | 1
318 | Diagnostics Lab |  | Diagnostics Lab | Genie II (LAMP Isothermal Amplification Instrument) |  |  | 1 | Geneworks Genie II (16 rxs) |  |  | 14500 |  | 1 | 1
319 | Diagnostics Lab |  | Diagnostics Lab | Cold room (4-8°C) |  |  | 1 |  |  |  | 20000 | recommended for storage of high volumes of samples and keep them as well as buffer solutions while processing | 1 | 1
320 | Diagnostics Lab |  | Diagnostics Lab | set of micropippettes (2µl, 10µl, 20µl, 100µl, 200µl, 500µl, 1ml) |  |  | 4 | Eppendorf, Axipet, Sartorius or similar brands |  |  | 2500 | to start | 1 | 1
321 | Diagnostics Lab |  | Diagnostics Lab | vortex mixer |  |  | 3 | Vortex genie 2 |  |  | 300 | buy with different accessories (tubes, pcr tubes, PCR plates) | 1 | 1
322 | Diagnostics Lab |  | Diagnostics Lab | Quick Spin Minifuges |  |  | 4 | Labnet Quick Spin Minifuges Maximum capacity: Strip tube rotor 2 x 0.2 mL strips; Standard tube rotor 6 x 1.5/2.0 mL |  |  | 500 |  | 1 | 1
323 | Diagnostics Lab |  | Diagnostics Lab | Multiposition stirrer |  |  | 2 | Fisher scientific |  |  | 4000 |  | 1 | 1
324 | Diagnostics Lab |  | Diagnostics Lab | Laboratory chemical storage cabinet (for flammable) |  |  | 2 |  |  |  | 500 |  | 1 | 1
325 | Diagnostics Lab |  | Diagnostics Lab | Laboratory chemical storage cabinet (for volatiles) |  |  | 2 |  |  |  | 500 |  | 1 | 1
326 | Diagnostics Lab |  | Diagnostics Lab | Laboratory chemical storage cabinet (for corrosives) |  |  | 2 |  |  |  | 500 |  | 1 | 1
327 | Diagnostics Lab |  | Diagnostics Lab | Printer zebra |  |  | 1 |  |  |  | 10000 |  | 1 | 1
328 | Diagnostics Lab |  | Diagnostics Lab | Electro microscope |  |  | 1 | OLYMPUS |  |  | 20000 |  | 1 | 1
329 | Diagnostics Lab |  | Diagnostics Lab | stereo microscope |  |  | 1 | OLYMPUS |  |  | 5000 |  | 1 | 1
330 | CSARC General | Garage / Overhead Cover | Motorpool | 7 pax vehicle |  |  | 1 | Rush |  | Toyota |  |  |  | 1
331 | CSARC General | Garage / Overhead Cover | Motorpool | SUV - Toyota |  |  | 1 | Landcruiser |  | Toyota |  |  |  | 1
332 | CSARC General | Garage / Overhead Cover | Motorpool | Bus x 20 pax |  |  | 1 | [6 empty] | 1
333 | CSARC General | Garage / Overhead Cover | Motorpool | 7 pax vehicle |  |  | 1 | Rush |  | Toyota |  |  |  | 2
334 | CSARC General | Garage / Overhead Cover | Motorpool | Bus x 20 pax |  |  | 1 | [6 empty] | 2
335 | CSARC General | CSARC Main Building | IT Equipment | VTC Systems Summary (Auditorium x1, Meeting x2 Rooms, Training Rooms x 2, Director Office x 1) |  |  | 6
Note on N2: Mackey, Jonathan (CIP) Priority 1 Labs = required for CSARC launch, funding from initial funding for Government of India. Priority 2 and 3 will be developed in the future when follow on funding is available
Note on O2: Dear all - by equipment priority we mean: Regardless of the priority of the lab: Priority 1 - this equipment is essential, and needed when the lab starts opens (initial operating capability) Priority 2 - this equipment is necessary but can be purchased later when funds are available if necessary Priority 3 – this equipment is important to have, but is not as important as a priority 1 or 2. Purchase when funds are available. ********************* If there are equipment that we need at CSARC Start, that is currently in a pri 2 lab, it should moved into a priroity 1 lab list of equipment. In some cases, there could be equipment for a priority 1 lab that can be considered as a follow on expense. ** We are aware and tracking that at times the same equipment must be in each lab, and some of them can be shared between labs. In cases where sharing some types of equipment between labs is possible, this will be refined later.
Note on E34: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This is Biobase
Note on D124: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: I suggest to use the word screenhouse in this box to facilitate its identification
Note on D125: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: I suggest to use the word screenhouse in this box to facilitate its identification
Note on E126: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: I understand this word includes net-houses, screenhouses and greenhouses; if this is correct and to better capture the type of facility I will move this to column D
Note on D133: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: I suggest to consider in this column the word nethouse related to the facility ecause the activity is already included in the next column
Note on M141: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: All this are a must. Besides this facility have also include hepa filters and airlocks
Note on O141: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This priority could change to 1 if there is a plan to acquire germplasm or microorganisms from abroad but also to work with quarantine pathogens in a safety way and eventually to provide support giving access to the local NPPO to this facility and perform trials with quarantine pathogens.
Note on E149: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: It would be interesting if this hexacopter could be used for agrochemicals application. If not considered, then another system for agrochemicals application should be considered.
Note on E153: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Confirm if this equipment is similar to the one required for Nutrition Lab.
Note on E165: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Power back up if referred to electric generators would be critical if related to equipment, only if generator and electrical stabilizer has not been considered
Note on E209: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Boxes highlighted in purple are duplicated in other lines starting 270-329
Note on E242: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The equipment is already mentioned in other lines. I suggest to remove this line.
Note on G258: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: El uso indica tablet y en equipo se indica smartphone. Solicitar aclarar.